{ClientName}

Level 1 Energy Audit

{Property Address1},

{City}, {Province Abbreviation} {Post Code}

{ReportDate}

Prepared by:

Mann Engineering

1110 FINCH AVENUE W, SUITE 706

TORONTO, ON M3J 2T2

Phone: 416 201 9109

Fax: 416 201 8050

Table of Contents

1. Executive Summary	4

1.1 Description of this Study 	4

1.2 Recommendations for Improvement 	4

2. Facility and Systems Description	5

2.1 General Facility Overview	5

2.2 Building Mechanical Systems Overview	5

2.2.1 Central Heating/Cooling Systems	5

2.2.2. Central Ventilation System	6

2.2.3. DHW System	7

2.2.4. Miscellaneous	7

3. Energy Conservation Measures	9

Appendix A – ASHRAE Level II Energy Audit Proposal	10

List of Abbreviations

Btu	British Thermal Units

CFL	Compact Fluorescent Lamp

Cfm	Cubic Feet per Minute

CO2	Carbon Dioxide

DHW	Domestic Hot Water

ekWh	Equivalent Kilo Watt Hours

° F	Degree Fahrenheit

Fc	Foot-candle

GJ 	Giga Joules, Unit for Measuring Heat Content

HP	Horse Power

HWS	Hot Water Supply

HVAC	Heating, Ventilation, and Air Conditioning

ID	Equipment Identification Tag

BAS	Building Automation System

LB	Pound

LED	Light Emitting Diode

kW	Kilo Watt, a Measure of Electric Demand

kWh	Kilo Watt hours, a Measure of Electricity Usage

m3	Cubic Meter

Max	Maximum

MBH	1,000 Btu per hour

MH	Metal Halide Min Minimum

MMBtu / hr	Million Btu per hour

NA	Not Available or not applicable

NRCAN	Natural Resources Canada

OAT	Outside Air Temperature

O & M	Operations and Maintenance

DDC	Direct Digital Controls

VFD	Variable Frequency Drive

VAV	Variable Air Volume

1. Executive Summary

1.1 Description of this Study

Mann Engineering performed an ASHRAE Level 1 Energy Audit at {Property Address1}, {District}, in {City}, {Province}. The structure is a {Number of Floors}-storey condominium comprising {Number of Suites} residential units constructed in {Date Constructed}.

Mann reviewed the existing HVAC system from visual inspection and discussions with co-operative on-site staff, we attained un understanding of operation characteristics of the facility. This preliminary audit does not include full utility consumption analysis, financial modelling or detailed energy-saving quantification.

To support capital planning with verified energy-saving calculations, project budgeting, incentive alignment, and payback estimation, it is recommended that the client advance to a Level II audit (detailed building energy and financial assessment) to evaluate energy conservation and project financial viability. Additional retrofit measures are likely to emerge once the analysis extends to this audit depth.

1.2 Recommendations for Improvement

Based on the results from the above analysis and our site observations, a series of building improvement measures were formulated. This report summarizes the existing conditions observed during the site visit, identifies major opportunities for energy savings and operational improvements, and provides preliminary recommendations. Photographs taken during the walkthrough are included to illustrate key equipment and findings.

| Description of Measure | Estimated Utility / Cost Savings |
| --- | --- |
| {MEASURE_SUMMARY_ROW} |  |

2. Facility and Systems Description

2.1 General Facility Overview

A walk-through Level 1 energy audit was performed at {Property Address1}, {District}, in {City}, {Province}. a {Number of Floors}-storey condominium constructed in {Date Constructed}. The architectural condition of the building is {Architectural Condition}. It has a mixture of {Suite Types} suites for a total of {Number of Suites} units. The site visit included a comprehensive walk through, review of all mechanical rooms and equipment and an interview with the building operator.

2.2 Building Mechanical Systems Overview

2.2.1 Central Heating/Cooling Systems

Existing heating conditions:

The building operates with a mixed hydronic configuration consisting of a primary high-temperature boiler loop, a secondary DHW heating loop, and a separate low-temperature water-source heat pump (WSHP) loop.

A total of {number of total boilers} atmospheric boilers are installed in the main mechanical room. These are separated into:

- {number of WSHP boilers} boilers rated at {WSHP boiler capacity in MBH}, which operate as WSHP loop boilers, maintaining loop temperature for the in-suite heat pumps and providing supplemental heat during cold weather.

- {number of heating boilers} boilers rated at {heating boiler capacity in MBH}, which serve as the primary heating loop, supplying hot water to building heating loads and feeding a secondary glycol heat-exchanger loop that heats the domestic hot water (DHW) storage tanks.

The WSHP loop operates at significantly lower temperatures than the primary heating loop and remains fully hydraulically isolated. The high-temperature loop feeds corridor radiation, common-area coils, and the DHW glycol heat exchanger.

Equipment condition was observed to be {HTG mechanical condition}, with no major circulation issues reported by on-site staff. However, the overall performance of the plant is limited by {BAS status for heating or WSHP}, and several optimization opportunities remain, including boiler sequencing, temperature reset, and fault monitoring.

.

Existing cooling condition:

Cooling for the building is provided through a water-source heat pump (WSHP) system operating on the low-temperature hydronic loop. Heat extracted from suites is transferred into the loop and rejected outdoors through a fluid cooler during the cooling season. At the time of the site visit, the fluid cooler was {seasonally shut down / operating normally}, which is typical for this type of system.

The WSHP equipment, fluid cooler, and associated hydronic loop were observed to be in {WSHP mechanical condition} mechanical condition. {Evaluation of WSHP or fluid cooler} Overall, no major mechanical deficiencies or performance issues were reported by on-site staff at the time of the walkthrough.

2.2.2. Central Ventilation System

Existing condition:

Ventilation for the building is provided rooftop make-up air (MUA) units. The MUA units serve corridors and other shared spaces. The building is equipped with {number of MUA units} MUA units, equipped with {VFD and heating or cooling capacity}. The units were observed to be in {ventilation mechanical condition} mechanical condition. {Evaluation of fan and MUA}

Supply-air temperatures and airflow patterns were generally consistent with normal operation. Where heating coils are present, they are typically served from the building’s high-temperature heating loop or a dedicated glycol loop. Where cooling coils are installed, they provide cooling and dehumidification for the ventilation air during the cooling season. {Evaluation of ventilations}

Although the unit is in {ventilation mechanical condition} mechanical condition, there is currently no centralized Building Automation System (BAS) to coordinate MUA operation with the rest of the mechanical systems. The existing {VFD and heating or cooling capacity} would benefit from BAS integration to enable scheduling, supply-temperature reset, demand-based ventilation, and alarm monitoring, which would improve overall energy performance and operational oversight.

2.2.3. DHW System

Existing condition:

Domestic hot water is produced through a primary–secondary configuration located in the central mechanical room. The DHW system consists of {number of heating boilers} primary heating boilers, each rated at approximately {heating boiler capacity in MBH}, supplying high-temperature water to a glycol heat-exchanger circuit, and {number of DHW storage tanks} DHW storage tanks, served on the secondary side of the heat exchanger.

The DHW plant distributes hot water to {number of domestic hot water zones} domestic hot water zones, typically divided into lower, mid, and upper risers depending on building layout.

The heating boilers, heat exchanger, and associated piping were observed to be in {DHW system mechanical condition} condition, with no visible leaks at the time of inspection. DHW recirculation pumps were operating, and most insulation was intact. {Evaluation of DHW system}

Mixed-water temperature control is provided through {type of mixing valve}, which regulates the final delivery temperature to the suites. During the walkthrough, the mixed DHW temperature appeared to be {DHW setpoint condition}.

Overall, the DHW system is functioning but remains dependent on the performance of the primary heating loop and heat-exchanger sequence. Where temperature control issues are present, targeted servicing of the mixing valve, recalibration of temperature sensors, and inspection of the heat-exchanger circuit may be warranted.

2.2.4. Miscellaneous

Existing condition:

Lighting throughout the building is generally in good working order. Common areas, corridors, and service spaces appear to be equipped with a mix of LED and fluorescent fixtures. No widespread outages were observed during the walkthrough, and the overall lighting levels were appropriate for the building’s use. Further savings may be available through continued LED retrofit and the use of occupancy-based controls in selected low-traffic areas.

The parking garage is served by a mechanical ventilation system controlled by carbon monoxide (CO) sensors. Exhaust fans start and stop in response to measured CO levels, providing demand-based operation and reducing unnecessary runtime during periods of low vehicle activity. The garage fans and control system appeared to be functioning normally, with no obvious mechanical deficiencies reported.

The exterior ramp heating system is {electric/hydronic ramp heating} and is used to maintain safe, ice-free conditions during winter months. No operational issues were observed with the ramp heating system at the time of the visit. Control improvements may be possible through tighter integration with outdoor temperature or moisture sensors.

3. Energy Conservation Measures

{MEASURE_BLOCK}

Appendix A – ASHRAE Level II Energy Audit Proposal

Next step:

As the recommended next step following this ASHRAE Level I Energy Audit, Mann Engineering proposes completing a comprehensive ASHRAE Level II Energy Audit Report. This enhanced study provides a deeper technical analysis of the building’s mechanical and electrical systems and develops project-specific cost, savings, and payback models to support informed capital planning. Please refer to the proposal on the following page for our detailed quotation.

The ASHRAE Level II Audit includes:

- Detailed analysis of utility bills and consumption trends

- Engineering-based cost estimates for recommended measures

- Modelled energy-saving calculations for each opportunity

- Available incentives estimate from Enbridge and IESO Save on Energy Program.

- Financial modelling, including payback periods and cash flow analysis

By combining technical evaluation with financial forecasting, the Level II Audit helps the client make more informed, evidence-based decisions regarding future capital projects and investment prioritization.

.