{ClientName}

Level 1 Energy Audit

{Property Address1},

{City}, {Province Abbreviation} {Post Code}

{ReportDate}

Prepared by:

Mann Engineering

1110 FINCH AVENUE W, SUITE 706

TORONTO, ON M3J 2T2

Phone: 416 201 9109

Fax: 416 201 8050

Table of Contents

1. Executive Summary	4

1.1	Description of this Study 	4

1.2	Recommendations for Improvement 	4

2. Facility and Systems Description	5

2.1	General Facility Overview	5

2.2	Building Mechanical Systems Overview	5

2.2.1 Central Heating/Cooling Systems	5

2.2.2 Central Ventilation System	6

2.2.3 DHW System	7

2.2.4 Miscellaneous	7

3. Energy Conservation Measures	9

Appendix A – ASHRAE Level II Energy Audit Proposal	10

List of Abbreviations

Btu	British Thermal Units

CFL	Compact Fluorescent Lamp

Cfm	Cubic Feet per Minute

CO2	Carbon Dioxide

DHW	Domestic Hot Water

ekWh	Equivalent Kilo Watt Hours

° F	Degree Fahrenheit

Fc	Foot-candle

GJ 	Giga Joules, Unit for Measuring Heat Content

HP	Horse Power

HWS	Hot Water Supply

HVAC	Heating, Ventilation, and Air Conditioning

ID	Equipment Identification Tag

BAS	Building Automation System

LB	Pound

LED	Light Emitting Diode

kW	Kilo Watt, a Measure of Electric Demand

kWh	Kilo Watt hours, a Measure of Electricity Usage

m3	Cubic Meter

Max	Maximum

MBH	1,000 Btu per hour

MH	Metal Halide Min Minimum

MMBtu / hr	Million Btu per hour

NA	Not Available or not applicable

NRCAN	Natural Resources Canada

OAT	Outside Air Temperature

O & M	Operations and Maintenance

DDC	Direct Digital Controls

VFD	Variable Frequency Drive

VAV	Variable Air Volume

Executive Summary

Description of this Study

Mann Engineering performed an ASHRAE Level 1 Energy Audit at {Property Address1}, {District}, in {City}, {Province}. The structure is a {Number of Floors}-storey condominium comprising {Number of Suites} residential units constructed in {Date Constructed}.

Mann reviewed the existing HVAC system from visual inspection and discussions with co-operative on-site staff, we attained un understanding of operation characteristics of the facility. This preliminary audit does not include full utility consumption analysis, financial modelling or detailed energy-saving quantification.

To support capital planning with verified energy-saving calculations, project budgeting, incentive alignment, and payback estimation, it is recommended that the client advance to a Level II audit (detailed building energy and financial assessment) to evaluate energy conservation and project financial viability. Additional retrofit measures are likely to emerge once the analysis extends to this audit depth.

Recommendations for Improvement

Based on the results from the above analysis and our site observations, a series of building improvement measures were formulated. This report summarizes the existing conditions observed during the site visit, identifies major opportunities for energy savings and operational improvements, and provides preliminary recommendations. Photographs taken during the walkthrough are included to illustrate key equipment and findings.

| Description of Measure | Estimated Utility / Cost Savings |
| --- | --- |
| {MEASURE_SUMMARY_ROW} |  |

Facility and Systems Description

General Facility Overview

A walk-through Level 1 energy audit was performed at {Property Address1}, {District}, in {City}, {Province}. a {Number of Floors}-storey condominium constructed in {Date Constructed}. The architectural condition of the building is {Architectural Condition}. It has a mixture of {Suite Types} suites for a total of {Number of Suites} units. The site visit included a comprehensive walk through, review of all mechanical rooms and equipment and an interview with the building operator.

Building Mechanical Systems Overview

Central Heating/Cooling Systems

Existing heating conditions:

The building operates with a mixed hydronic configuration consisting of a primary high-temperature boiler loop, a secondary DHW heating loop, and a separate low-temperature water-source heat pump (WSHP) loop.

A total of {number of total boilers} atmospheric boilers are installed in the main mechanical room. These are separated into:

•	{number of WSHP boilers} boilers rated at {WSHP boiler capacity in MBH}, which operate as WSHP loop boilers, maintaining loop temperature for the in-suite heat pumps and providing supplemental heat during cold weather.

•	{number of heating boilers} boilers rated at {heating boiler capacity in MBH}, which serve as the primary heating loop, supplying hot water to building heating loads and feeding a secondary glycol heat-exchanger loop that heats the domestic hot water (DHW) storage tanks.

The WSHP loop operates at significantly lower temperatures than the primary heating loop and remains fully hydraulically isolated. The high-temperature loop feeds corridor radiation, common-area coils, and the DHW glycol heat exchanger.

Equipment condition was observed to be {HTG mechanical condition}, with no major circulation issues reported by on-site staff. However, the overall performance of the plant is limited by {BAS status for heating or WSHP}, and several optimization opportunities remain, including boiler sequencing, temperature reset, and fault monitoring.

Existing cooling condition:

Cooling for the building is provided through a water-source heat pump (WSHP) system operating on the low-temperature hydronic loop. Heat extracted from suites is transferred into the loop and rejected outdoors through a fluid cooler during the cooling season. At the time of the site visit, the fluid cooler was {seasonally shut down / operating normally}, which is typical for this type of system.

The WSHP equipment, fluid cooler, and associated hydronic loop were observed to be in {WSHP mechanical condition} mechanical condition. {Evaluation of WSHP or fluid cooler} Overall, no major mechanical deficiencies or performance issues were reported by on-site staff at the time of the walkthrough.

Central Ventilation System

Existing condition:

Ventilation for the building is provided rooftop make-up air (MUA) units. The MUA units serve corridors and other shared spaces. The building is equipped with {number of MUA units} MUA units, equipped with {VFD and heating or cooling capacity}. The units were observed to be in {ventilation mechanical condition} mechanical condition. {Evaluation of fan and MUA}

Supply-air temperatures and airflow patterns were generally consistent with normal operation. Where heating coils are present, they are typically served from the building’s high-temperature heating loop or a dedicated glycol loop. Where cooling coils are installed, they provide cooling and dehumidification for the ventilation air during the cooling season. {Evaluation of ventilations}

Although the unit is in {ventilation mechanical condition} mechanical condition, there is currently no centralized Building Automation System (BAS) to coordinate MUA operation with the rest of the mechanical systems. The existing {VFD and heating or cooling capacity} would benefit from BAS integration to enable scheduling, supply-temperature reset, demand-based ventilation, and alarm monitoring, which would improve overall energy performance and operational oversight.

DHW System

Existing condition:

Domestic hot water is produced through a primary–secondary configuration located in the central mechanical room. The DHW system consists of {number of heating boilers} primary heating boilers, each rated at approximately {heating boiler capacity in MBH}, supplying high-temperature water to a glycol heat-exchanger circuit, and {number of DHW storage tanks} DHW storage tanks, served on the secondary side of the heat exchanger.

The DHW plant distributes hot water to {number of domestic hot water zones} domestic hot water zones, typically divided into lower, mid, and upper risers depending on building layout.

The heating boilers, heat exchanger, and associated piping were observed to be in {DHW system mechanical condition} condition, with no visible leaks at the time of inspection. DHW recirculation pumps were operating, and most insulation was intact. {Evaluation of DHW system}

Mixed-water temperature control is provided through {type of mixing valve}, which regulates the final delivery temperature to the suites. During the walkthrough, the mixed DHW temperature appeared to be {DHW setpoint condition}.

Overall, the DHW system is functioning but remains dependent on the performance of the primary heating loop and heat-exchanger sequence. Where temperature control issues are present, targeted servicing of the mixing valve, recalibration of temperature sensors, and inspection of the heat-exchanger circuit may be warranted.

Miscellaneous

Existing condition:

Lighting throughout the building is generally in good working order. Common areas, corridors, and service spaces appear to be equipped with a mix of LED and fluorescent fixtures. No widespread outages were observed during the walkthrough, and the overall lighting levels were appropriate for the building’s use. Further savings may be available through continued LED retrofit and the use of occupancy-based controls in selected low-traffic areas.

The parking garage is served by a mechanical ventilation system controlled by carbon monoxide (CO) sensors. Exhaust fans start and stop in response to measured CO levels, providing demand-based operation and reducing unnecessary runtime during periods of low vehicle activity. The garage fans and control system appeared to be functioning normally, with no obvious mechanical deficiencies reported.

The exterior ramp heating system is {electric/hydronic ramp heating} and is used to maintain safe, ice-free conditions during winter months. No operational issues were observed with the ramp heating system at the time of the visit. Control improvements may be possible through tighter integration with outdoor temperature or moisture sensors.

Energy Conservation Measures

{MEASURE_BLOCK}

Appendix A – ASHRAE Level II Energy Audit Proposal

Next step:

As the recommended next step following this ASHRAE Level I Energy Audit, Mann Engineering proposes completing a comprehensive ASHRAE Level II Energy Audit Report. This enhanced study provides a deeper technical analysis of the building’s mechanical and electrical systems and develops project-specific cost, savings, and payback models to support informed capital planning. Please refer to the proposal on the following page for our detailed quotation.

The ASHRAE Level II Audit includes:

- Detailed analysis of utility bills and consumption trends

- Engineering-based cost estimates for recommended measures

- Modelled energy-saving calculations for each opportunity

- Available incentives estimate from Enbridge and IESO Save on Energy Program.

- Financial modelling, including payback periods and cash flow analysis

By combining technical evaluation with financial forecasting, the Level II Audit helps the client make more informed, evidence-based decisions regarding future capital projects and investment prioritization.

.

Attention:	{ClientName} (“Client”)

From:	Wesley Mann, (wmann@mannengineering.com)

Date:	{DateDocument}

Subject:	ASHRAE Level II Energy Audit Proposal at {Property Address1}

This letter is an engineering proposal (“Proposal”)

Background

Mann Engineering (“Mann”) is a professional consulting engineering company that specializes in energy management, including energy audits, engineering, project management and implementation. Our firm has hundreds of installed energy management projects, including design/build projects, and we have been in business since 1988 and we offer one-year limited warranty on all services provided.

We offer the following accreditations:

- Licensed by the Professional Engineers of Ontario (PEO)

- Optional registration with the The Association of Professional Engineers and Geoscientists of Alberta (APEGA), The Association of Professional Engineers and Geoscientists of British Columbia (APEGBC), The Association of Professional Engineers and Geoscientists of Manitoba (APEGM), The Association of Professional Engineers and Geoscientists of New Brunswick (APENB), The Association of Professional Engineers and Geoscientists of Saskatchewan (APEGS), The Associations of Engineers of Nova Scotia, The Association of Professional Engineers of Newfoundland & Labrador, conditional upon request, application and approval

- Full in-house mechanical, electrical and structural consulting engineering services

- Covered with Professional Liability Insurance with Evolution Insurance Inc.

- Registered with the Technical Safety Standards Association (TSSA)

- Fully bonded with Marsh Canada

- Member of the Toronto Better Building Partnership

- Full in-house mechanical construction capability

- Full in-house electrical construction capability

- Full in-house building automation design and implementation capability

- Full in-house 24-7 monitoring service for HVAC and energy services

Introduction

Mann Engineering (“Mann”) has been requested to provide a proposal for an ASHRAE Level II Energy Audit at {Property Address1}. The primary goal of the Client is to verify the condition and remaining lifespan of the mechanical equipment throughout the building. In addition, the energy audit will evaluate the existing energy consumption of the facility (natural gas, electricity and water) and propose energy management measures with detailed analysis. Client notes that an energy audit is required for CMHC funding.

ASHRAE Level II Energy Audit

Scope of Work

We would like to propose the following services with the scope of work shown below:

- Detailed site review by Mann Engineering

- Review all HVAC equipment on site and provide recommendations on equipment remaining lifespan and repair/replacement options.

- Analysis of water, natural gas, and electricity bills over the past 12 months.

- Benchmarking of utilities, where applicable

- Analysis of the ventilation system in the building

- Analysis of the DHW system in the building

- Analysis of the heating/cooling systems in the building

- Analysis of water fixtures and systems in the building

- Analysis of the lighting systems in the building

- Analysis and potential benefits of a building automation system

- Analysis of the opportunities to reduce energy consumption on a measure-by-measure basis

- Analysis of the costs associated with the identified energy management measures

- Analysis of the potential savings associated with the identified energy management measures

- Analysis of the potential incentives associated with the identified energy management measures

- A proposed strategy for implementing the identified energy management measures

- A formal written report (electronic copy).

- Energy Audits will be qualified under ASHRAE Level II requirements

- Apply for and manage any available incentives.

Our Fee

Our base fee for the above Scope of Work is $4,500 plus taxes.

This price includes all miscellaneous costs such as photocopying and other disbursements.

Optional Fee

Report will be expedited to meet 4-week deadline from release of PO. Subject to Mann receiving requested documents within 5 business days of project start and Mann being provided with access to site in a timely manner.

Expedited fee: $2,100 plus taxes

Total Fee: $ 6,600 plus taxes

Please initial to indicate acceptance of Optional Fee _______

Please Note

- Additional site visits are subject to additional costs as per our Standard Billable Rates.

- Any changes to Scope of Work are subject to additional costs as per our Standard Billable Rates.

Terms

- 20% to be invoiced on start of project.

- Balance on submission of final report.

- Applicable taxes extra to all prices.

- All invoices are net 30 days.

- Any change to scope of work will be billed according to our Standard Billable Rates.

- Quotes valid for 30 days.

We appreciate the opportunity to provide this quote,

Your signature indicates acceptance of the terms of this agreement, including Schedule A and Schedule B, including the STANDARD TERMS AND CONDITIONS, approval to proceed with the chargeable scope of work, and that these agreements are binding on the Client. Schedule A and Schedule B form an integral part of the Mann Proposal. The Proposal containing the proposed Scope of Work, together with Schedule A and Schedule B, are collectively referred to as the "Agreement".

SIGNATURES:

Mann Engineering	Name

Signature:

I have authority to bind the corporation.

Name

CLIENT

Signature:

I have authority to bind the corporation.

PO#

SCHEDULE A: STANDARD BILLABLE RATES 2022

ENGINEERING, MECHANICAL, CONTROL, & ELECTRICAL DEPARTMENTS (Add $30 for Structural)

|  |  | Per Hour |
| --- | --- | --- |
| Principal | ………………………………………… | $600.00 |
| Manager | ………………………………………… | $195.00 |
| Senior Engineer | ………………………………………… | $180.00 |
| Intermediate Engineer | ………………………………………… | $150.00 |
| Designer/Junior Engineer | ………………………………………… | $120.00 |
| Engineering Technician | ………………………………………… | $ 120.00 |
| Field Technician | ………………………………………… | $ 120.00 |
| Senior Administration | ………………………………………… | $ 75.00 |
| Junior Administration | ………………………………………… | $ 70.00 |
| Senior Accountant | ………………………………………… | $ 75.00 |
| Junior Accountant | ………………………………………… | $ 70.00 |

Note: All rates above are for regular business hours and do not include travel time. Overtime rates are x 1.5 and any disbursement costs, unless specifically stated, have not been included and will be charged at the per diem rate or actual cost, whichever is higher plus 15% administration fee. Mileage per diem is $0.55/km for company vehicles, hotel per diem is $150/night per employee, meal allowance per diem is $90/day per employee. Other costs such as printing, and courier costs are charged at cost plus 15% administration fee.

SCHEDULE B:

STANDARD TERMS AND CONDITIONS, revised January 1st, 2021

Schedule A and Schedule B form an integral part of the Mann proposal (“Proposal”). The Proposal containing the proposed "Scope of Work", together with Schedule A and Schedule B, are collectively referred to as the "Agreement".

Article 1: General

1.1(a) The Agreement, when accepted in writing by the Client and Mann shall constitute the entire, complete and exclusive agreement between the parties relating to the services specified in the Agreement ("Services") and shall supersede and cancel all prior agreements and understandings, written or oral, relating to the subject matter of the Agreement. The Agreement and any rights or obligations there under may not be assigned by either party without the advance written consent of the other, with the exception that Mann may assign all or part of the Services to the related construction company, Aris Building Technologies (“Aris”) at any time without notice to the Client.

- The terms and conditions of this Agreement shall not be modified or rescinded except in writing, signed by a corporate officer of Mann. Mann's performance under this Agreement is expressly conditioned on Client's assenting to all of the terms of this Agreement, notwithstanding any different or additional terms contained in any writing at any time submitted or to be submitted to Mann by the Client.

- The terms and conditions set forth herein shall supersede, govern and control any conflicting terms of the Proposal.

  - If, during or within 90 days after the term of this Agreement, Client engages any Mann employee who has performed work under this or any other agreement between Client and Mann, Client shall pay Mann an amount equal to the employee's latest annual salary.

  - This Agreement shall be governed by and enforced in accordance with the laws of the Province of Ontario.

  - The Services shall be performed during Mann's normal working hours, Monday through Friday inclusive, excluding holidays, unless otherwise set forth herein.

  - Client will at all times designate a contact person with authority to make decisions for Client regarding the Services. Client will provide Mann with information sufficient to contact such person in an emergency. If such representative cannot be reached, any request for Service received from a person located at Client's premises will be deemed authorized by Client, and Mann will, in its discretion, act accordingly.

  - Mann will be permitted to control and/or operate all equipment necessary to perform the Services and will be allowed to perform routine research and development on Client equipment at the expense of Mann.

  - Mann will not be required to conduct safety or other tests, install new devices or equipment or make modifications to any equipment beyond the Proposal set forth in this Agreement. Any Client request to change the Proposal or the nature of the Services must be in the form of a mutually agreed change order, effective only when executed by all parties hereto.

  - Client agrees that any carbon credits associated with this work will be the ownership of Mann unless agreed otherwise in writing.

  - Client agrees that Mann’s obligations, liability and warranty under the Agreement are limited by the obligation of Mann to design and control the Clients buildings in order to provide the minimum required temperature, air flow and other parameters that may be specified by the Ontario Building Code (“OBC”) or other applicable governing municipal, provincial or federal requirements. In the lack of such requirements, then the Mann design shall be deemed to be accepted by the Client. Any request by the client or his site staff to increase the temperature or other parameter above that specified by Mann or the OBC shall constitute a waiver by the Client of any performance guarantee offered by Mann in the Agreement.

  - In the event that the Client terminates this Agreement for any reason whatsoever but at a time when more than 50% of the Services are (a) completed by Mann or (b) invoiced by Mann, then the Client will be liable to pay the entire fee specified for the Services only conditional that Mann invoice the balance of the Services.

  - Mann has the right to modify any Mann design, drawing or specification at any time if Mann, in its exclusive capacity, determines that there is a defect that will impact the performance of the Services.

Article 2: Charges, Fees and Invoices

  - Payments to be made under this Agreement will provide for, and be in consideration of, only Services specifically included under the Proposal. All other Services, including but not limited to the following, shall be separately billed or surcharged on a time and materials basis: (a) emergency services performed at Client's request, if inspection does not reveal any deficiency covered by this Agreement; (b) services performed other than during Mann's normal working hours; and (c) service performed on Equipment not covered by this Agreement.

  - Invoices are due upon receipt or otherwise as may be set forth therein. If any payment is not received when due, Mann may deem Client to be in breach hereof and may enforce any remedies available to it hereunder or at law, including without limitation suspension or termination of Services and acceleration of payments, including any payments specified under 1.10. Any amount not paid within thirty (30) days of the date due shall accrue interest from the date due, until paid, at the rate of twenty-eight percent (28%) per annum. In the event of a dispute by Client regarding any portion or all of an invoiced amount, the undisputed portion shall be paid when due, and interest on the disputed, unpaid portion shall accrue as aforesaid, from the date due until the date of payment, to the extent that such amounts are finally determined to be payable to Mann.

  - Client is responsible for paying any present or future sales, use, occupancy, goods and services, excise or other federal, provincial, or local tax due or owing as a result of this Agreement.

  - All extra work for the Proposal shall be billed using the rates listed in Schedule B

  - All mileage is charged from Mann office located at 150 Bridgeland Ave. Any Services that are performed more than 50km from the local Mann office will be rounded up to a full day’s labour.

  - A minimum of 4 hours per worker may be charged for mobilization, prior to start of the Services.

  - Any change to any Mann design, drawing, or specification after the tender or after award of purchase order, whichever comes first and regardless of the reason for the change is subject to additional fees as per the Standard Billable Rates.

  - The initial Mann design will be revised one time based on Client comments. Further revisions will be charged per the Standard Billable Rates.

Article 3: Allocation of Risk

  - Mann provides a one year warranty for errors or omissions from the Services, unless specified otherwise.

  - THE EXPRESS LIMITED WARRANTIES PROVIDED ABOVE ARE IN LIEU OF AND EXCLUDE ALL OTHER WARRANTIES, STATUTORY, EXPRESS, OR IMPLIED, INCLUDING WITHOUT LIMITATION ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR A PARTICULAR PURPOSE, WHICH ARE HEREBY EXPRESSLY DISCLAIMED. Mann MAKES NO WARRANTY, EXPRESS OR IMPLIED, THAT ANY EQUIPMENT PROVIDED HEREUNDER WILL PREVENT ANY LOSS, OR WILL IN ALL CASES PROVIDE THE PROTECTION FOR WHICH IT IS INSTALLED OR INTENDED. THE LIMITED EXPRESS WARRANTIES AND REPRESENTATIONS SET FORTH IN THIS AGREEMENT MAY ONLY BE MODIFIED OR SUPPLEMENTED IN A WRITING SIGNED BY A DULY AUTHORIZED CORPORATE OFFICER OF Mann.

  - Mann will indemnify Client from and against losses, claims, expenses and damages (not including legal fees and expenses on both a solicitor and client basis) for personal injury or physical damage to property, but not loss of use of the property resulting from such damage or from damage to any work performed hereunder. Such indemnification shall be solely to the extent caused by or arising directly from Mann's or its employees', consultants' or agents' negligent acts or omissions or willful misconduct in connection with its performance of Services hereunder. Mann's obligations under this indemnity provision shall not extend to claims, losses, expenses and damages arising out of or in any way attributable to the negligence of Client or its agents, consultants or employees other than Mann. Mann's liability to Client or any third party under this Section or otherwise under the Agreement is expressly limited to, and Mann shall not be liable other than for the direct losses, claims, expenses and damages arising as aforesaid. Mann shall in no event be responsible under this Agreement for incidental, consequential, punitive, exemplary or special damages, including without limitation lost profits and/or lost business opportunities, whether arising in warranty, late or non-delivery of any Equipment or Services, tort, contract or strict liability, and regardless of whether Mann has been advised of the possibility of such damages. Mann reserves the right to control the defense and settlement of any claim for which Mann has an obligation to indemnify hereunder. The parties acknowledge that the price for which Mann has agreed to perform its Services and obligations under this Agreement has been calculated based upon the foregoing limitations of liability, and that Mann has expressly relied on, and would not have entered into this Agreement but for, such limitations of liability.

Article 4: Environmental

  - Except as disclosed, Client represents that there is no asbestos or any other hazardous or toxic materials, as defined in any applicable federal, provincial or local law, ordinance, rule, code or regulation relating to public health or safety or protection of the environment ("Hazardous Materials"), present at Client's locations where Services are performed. Mann will notify Client immediately if it discovers or suspects the presence of any Hazardous Material. All Services have been priced and agreed to by Mann in reliance on Client's representations as set forth in this Section 4.1 The presence of Hazardous Materials constitutes a change in the Proposal equivalent to a change order whose terms must be agreed to by Mann before its obligations hereunder will continue.

  - Client shall be solely responsible for testing, abating, encapsulating, removing, remedying or neutralizing such Hazardous Materials, and for the costs thereof. Even if an appropriate change order has been entered into pursuant to Section 4.1 above, Mann will continue to have the right to stop providing Services until the job site is free from Hazardous Materials. In such event, Mann will receive an equitable extension of time to complete its Services, and compensation for delays caused by Hazardous Materials remediation.

  - Client warrants that, prior to the execution of the Agreement, it has notified Mann in writing of any and all Hazardous Materials present, potentially present or likely to become present at Client's locations and has provided a copy of any jobsite safety policies, including but not limited to lock-out and tag procedures, laboratory procedures, chemical hygiene plan, material safety data sheets, and other items covered or required to be disclosed or maintained by federal, provincial, or local laws, regulations or ordinances.

  - Client hereby indemnifies and holds harmless Mann from and against any damages, losses, costs, liabilities or expenses arising from Client's breach of, or failure to perform its obligations under, Sections 4.1, 4.2 or 4.3 above.

Article 5: Client Responsibilities

  - Client will operate and maintain all building, HVAC or process equipment (“Equipment”) in accordance with applicable manufacturer's specifications, including those set forth in the manufacturer's operating manuals or instructions, as well as all requirements of applicable law or of authorities having jurisdiction. Such Equipment shall be operated only in the specified operating environment, which shall be supplied by Client, including without limitation: (a) suitable electrical service, including clean, stable, properly conditioned power, to all Equipment; (b) data lines, capacity and connectivity as required by such Equipment; and (c) heat, light, air conditioning or other environmental controls, and other utilities in accordance with the specifications for the Equipment. Failure to so operate the Equipment will allow Mann the exclusive right to terminate immediately any Service obligations Mann may have hereunder.

  - Client will promptly notify Mann of any unusual operating conditions, system malfunctions or building changes that may affect the Equipment or any Services.

  - Client will provide Mann with reasonable means of access to the Equipment and shall make any necessary provisions to reach the Equipment and peripheral devices. Client will be solely responsible for any removal, replacement or refinishing of the building structure or finishes that may be required to gain access to such Equipment.

  - Client shall properly dispose of all ballasts, mercury bulb thermostats, used oil, contaminated filters, contaminated absorbents, refrigerant and any other Hazardous Materials that at any time are present at Client's premises, in accordance with all applicable federal, provincial, and local laws, regulations, and ordinances. At no time and under no circumstances will Mann be responsible for any such removal or disposal and Client hereby indemnifies and holds Mann harmless from and against any liability or claim arising there from.

  - Client will, if applicable, provide and pay for an internet connection with static IP address in a mutually agreed upon location. All web based service Equipment will remain the property of Mann unless otherwise stated herein.

  - Client will allow Mann to provide scientific research, experimentation and development (SRED) on software or hardware installed by Mann in order to increase the efficiency or performance or any other technical improvement that may be identified by Mann. All costs of the SRED work including labor and materials shall be at the cost of Mann. To perform SRED, Mann reserves the right to change equipment or add monitoring equipment at no cost to the Client.